KURUMAN TAXI RANK

ELECTRICAL INSTALLATIONS

SECTION 4 : PROVISIONAL BILLS OF QUANTITIES

INDEX

Item		Description	Page

4.1	General Notes	       27

4.2	BILL NO. 1: PRELIMINARIES AND GENERAL 	       29

4.3	BILL NO. 2: PROVISIONAL AMOUNTS	 	  30

4.4	BILL NO.3: TAXI RANK MAIN SITE	 	  31

4.5	BILL NO.4: DECANTING SITE	 	  37

4.6	SUMMARY OF BILLS	 	  39

KURUMAN TAXI RANK

ELECTRICAL INSTALLATION

SECTION 4 : PROVISIONAL BILLS OF QUANTITIES

4.1	GENERAL NOTES

4.1.1		These Bills of Quantity contain pages numbered consecutively in each Bill and separate Bills cover separate or individual sections of the electrical installation.  Before the Tenderer submits his tender he should check the number of pages, and if any are found missing or duplicated, or the figures or writing indistinct, or the Bills of Quantity contain any obvious errors, he should apply to the Engineer at once and have same rectified, as no liability whatsoever will be admitted by the Engineer in respect of errors in tender due to the foregoing.

4.1.2		The Bills of Quantity form part of and must be read in conjunction with the Specification which document contains the full descriptions of the work to be done and material and equipment to be used and unless otherwise described in the Bills of Quantity, reference should be made to the Specification for the full meaning of descriptions of work to be done and materials and equipment to be used in this service.

4.1.3		Provision is made in the Bill for the addition of items, which the Contractor may deem necessary for the successful completion of the works.  The total price for the project is deemed to be for the complete and functional installation, in accordance with the specifications.  Under no circumstances will additional payments therefore be made for any work forming part of the Works, which could reasonably have been foreseen at tender stage as being required to complete the Works.  (This is not to be confused with additional work which, subject to the approval of the Engineer, may at times become necessary or be requested and for which additional payments will be made).

4.1.4		The total tender price in the tender form shall constitute the contract price of the successful Tenderer.  Tenderers are advised to check their item extensions and total additions, as no claim for arithmetical errors will be considered.  The completed Bills of Quantity shall be submitted as part of the tender.

4.1.5		No alteration, erasure or addition is to be made in the text of the Bills of Quantity.  Should any alteration, erasure or addition be made, it will not be recognised but the original wording of the Bills of Quantity will be adhered to.

4.1.6		The Priced Bills of Quantity of the successful Tenderer will be checked and the Engineer reserves the right to call for adjustments to any individual price and to rectify any discrepancy whilst the total tender price, as submitted, remains unaltered.

4.1.7		The responsibility for the accuracy of the quantities written into the Bills remains with the person who prepared the Bills.  The Tenderer shall be relieved of responsibility of measuring the defined quantities at the tender stage, and the tender sum submitted shall be in respect of the quantities set out in the Bills, although he will be required to make his assessment of items such as brackets, fixings, etc, from details stated in the Bills and shall include in the item prices for such small installation materials as are required for the complete installation in accordance with the Specification.

4.1.8		The successful Tenderer and the Employer or his Agent may agree that the total of any Bill or Bills, including any variations by way of additions thereto or deductions therefrom, represents a fair and accurate quantification of the items set out in the Bills and the parties may agree final payment on that basis.  It should however be noted that all Bills must be regarded as provisional and as such it is reasonable to assume that all completed work will be remeasured and the quantities in the provisional bills adjusted accordingly.

4.1.9		The quantities in these Bills of Quantity are not to be used for ordering materials.

4.1.10		Variations in the scope and extent of the work included in the Bills shall be allowed to meet the Employer's requirements and shall be measured and costed at rates entered in the Bills, where appropriate, and shall form an addition to or deduction from the total of the Bills.  Any items or variation for which rates have not been included in the Bills shall be agreed and priced as non-scheduled items in accordance with the provisions of the contract.

4.1.11		Unless a separate rate for the supply and for the installation of any item is specifically called for, the supply and installation costs of any item shall be fully included in the unit price.

4.1.12		The description of each item shall, unless otherwise stated herein, be held to include making, conveying and delivering, unloading, storing, unpacking, hoisting, setting, fitting and fixing in position, cutting and waste, patterns, models and templates, plant, temporary works, return of packings, establishment charges, profit and all other obligations arising out of the conditions of contract.

4.1.13		All measurements are nett, unless otherwise stated, and Tenderers must allow in the rate for wastage.

4.1.14		The quantities and rates included for day work shall form part of the tender price, but Tenderers shall note that this item must be regarded as provisional and will only be payable to the Contractor if and when a written order to this effect has been issued.

4.1.15		Tenderers shall price the Preliminary and General as set out in the contract conditions.

4.1.16		All provisional sums shall be expended as directed by the Engineer and any balance remaining shall be deducted from the amount of the contract sum.

4.1.17		Tenderers shall clarify any doubt about the meaning of any item in the Bills of Quantity before the closing date of the Tenders.

4.1.18		When no price is shown for an item, it will be taken to be included elsewhere.

4.1.19		When alternative prices for equipment and material from different manufacturers are offered, the lowest price shall be quoted in the Bills as the main offer, when complying fully with the Specification.  All other alternative prices shall be mentioned in a covering letter.

4.1.20		In these Bills the following meaning is attached to:

(a)	Supply and Delivery (Material)

The prices for each item shall include for the complete supply and delivery to and off-loading on the sites and must be inclusive of all sundry material and items necessary for the completion, commissioning and putting to work of the equipment, as required by the specification whether set out in detail or not.

(b)	Installation (Labour)

Material installation prices are to provide, amongst others, for assembling, positioning, preparation, testing, completion, painting, commissioning, initial maintenance and handing over to the Employer in a satisfactory operating condition of the material.

4.1.21		The individual listings of material refer to completed items - installed and ready for use as part of the final installation.  Under no circumstances will payments be made for any items only partially completed.

4.1.22		Invoices submitted by the Contractor for interim payment claims must be in the format of the Bills.  These will be assessed on site in accordance with the actual Bills of Quantity for each project section.

4.1.23		The Subcontractor shall not be compensated for any loss in profit should any section(s) of the Works not be executed on instruction from the Engineer and/or Employer.

4.1.24		The price of fittings and accessories shall include for the installation thereof.

4.1.25		The cost of luminaires shall include the cost of lamps specified.